## Summary
Public Service Company of New Mexico
Line | Load and Capacity Contribution at Summer Peak
No. | Description | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036
(1) | Forecasted System Peak Demand | 1911.4279 | 1961.1432 | 2008.846 | 2055.6842 | 2107.5492 | 2162.8344 | 2201.1465 | 2230.1789 | 2260.2954 | 2291.3021 | 2323.245 | 2356.104 | 2389.8477 | 2424.513 | 2460.0158 | 2496.3586 | 2533.5116 | 2571.4905 | 2610.3829 | 2650.0528
(2) | Forecasted Incremental Energy Efficiency | -23.1481 | -36.3409 | -51.2761 | -62.8144 | -76.5794 | -89.2883 | -103.2105 | -113.2392 | -120.0379 | -129.2126 | -136.009 | -137.8068 | -145.5745 | -147.2487 | -141.8452 | -137.9661 | -134.8816 | -134.007 | -128.8298 | -122.2138
(3) | Forecasted Incremental Customer Sited PV | -17.6798 | -24.9022 | -31.5698 | -31.5698 | -31.5698 | -32.5461 | -33.5359 | -34.5397 | -35.5575 | -36.5895 | -37.636 | -38.6972 | -39.7732 | -40.8643 | -41.9706 | -43.0924 | -44.23 | -45.3834 | -46.5531 | -47.739
(4) | Net System Peak Demand (MW) | 1870.6 | 1899.9 | 1926 | 1961.3 | 1999.4 | 2041 | 2064.4 | 2082.4 | 2104.7 | 2125.5 | 2149.6 | 2179.6 | 2204.5 | 2236.4 | 2276.2 | 2315.3 | 2354.4 | 2392.1 | 2435 | 2480.1
(5) | Four Corners | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
(6) | San Juan | 783 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497 | 497
(7) | Total Coal Resources (MW) | 983 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697 | 697
(8) | Palo Verde Unit 1 & Unit 2 | 268 | 268 | 268 | 268 | 268 | 268 | 164 | 154 | 154 | 154 | 154 | 154 | 164 | 154 | 154 | 154 | 154 | 154 | 154 | 154
(9) | Palo Verde Unit 3 | 0 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134 | 134
(10) | Total Nuclear Resources (MW) | 268 | 402 | 402 | 402 | 402 | 402 | 298 | 288 | 288 | 288 | 288 | 288 | 298 | 288 | 288 | 288 | 288 | 288 | 288 | 288
(11) | Reeves | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154 | 154
(12) | Afton | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230 | 230
(13) | Lordsburg | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
(14) | Luna | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189 | 189
(15) | Rio Bravo | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | 138 | #REF!
(16) | Valencia | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(17) | La Luz | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40
(18) | Natural Gas Fired Resource (peaking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 40 | 40
(19) | Natural Gas Fired Resource (peaking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 40 | 40 | 40 | 40
(20) | Natural Gas Fired Resource (peaking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | 41 | 41 | 41 | 41 | 41
(21) | Natural Gas Fired Resource (peaking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | 41 | 41 | 41 | 41 | 41 | 41
(22) | Natural Gas Fired Resource (peaking) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187
(23) | Natural Gas Fired Resource (peaking) | 0 | 0 | 0 | 0 | 0 | 0 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187
(24) | Total Natural Gas Resources (MW) | 981 | 981 | 981 | 981 | 981 | 981 | 1168 | 1168 | 1168 | 1168 | 1168 | 1205 | 1205 | 1246 | 1287 | 1327 | 1327 | 1367 | 1367 | 1367
(25) | Total Demand Response Programs (MW, Net of losses) | 45 | 46.5 | 48 | 49.4 | 51 | 52.5 | 54 | 55.5 | 57 | 58.5 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
(26) | 200 MW Wind Purchase (NMWEC) | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(27) | 104 MW Wind Purchase (Red Mesa) | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 5.1 | 0
(28) | 0.5 MW Prosperity Battery Demo | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
(29) | Utility Scale Solar PV (22 MW - 2012 REPP) | 11.8311 | 11.7333 | 11.6356 | 11.6356 | 11.5378 | 11.5378 | 11.44 | 11.3422 | 11.3422 | 11.2444 | 11.2444 | 11.1467 | 11.1467 | 11.0489 | 10.9511 | 10.9511 | 10.8533 | 10.8533 | 10.7556 | 10.7556
(30) | Utility Scale Solar PV (20 MW - 2013 REPP) | 10.7907 | 10.7907 | 10.6977 | 10.6977 | 10.6047 | 10.6047 | 10.5116 | 10.4186 | 10.4186 | 10.3256 | 10.3256 | 10.2326 | 10.2326 | 10.1395 | 10.1395 | 10.0465 | 10.0465 | 9.9535 | 9.8605 | 9.8605
(31) | Utility Scale Solar PV (23 MW - 2014 REPP) | 15.5 | 15.4 | 15.4 | 15.3 | 15.2 | 15.1 | 15.1 | 15 | 14.9 | 14.8 | 14.8 | 14.7 | 14.6 | 14.5 | 14.5 | 14.4 | 14.3 | 14.3 | 14.2 | 14.1
(32) | Utility Scale Solar PV (40 MW - 2015 REPP) | 30.2 | 29.9 | 29.7 | 29.5 | 29.3 | 29.1 | 28.8 | 28.6 | 28.4 | 28.2 | 28 | 27.8 | 27.6 | 27.4 | 27.1 | 26.9 | 26.7 | 26.5 | 26.3 | 26.1
(33) | PNM Sky Blue - 1.5 MW Solar | 0.8093 | 0.8093 | 0.80233 | 0.80233 | 0.79535 | 0.79535 | 0.78837 | 0.7814 | 0.7814 | 0.77442 | 0.77442 | 0.76744 | 0.76744 | 0.76047 | 0.76047 | 0.75349 | 0.75349 | 0.74651 | 0.73953 | 0.73953
(34) | Dale Burgett Geothermal Plant | 2.2 | 2.2 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 0 | 0 | 0
(35) | 10 MW Solar PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1 | 7.1
(36) | 30 MW Solar PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.3 | 21.3 | 21.3 | 21.3
(37) | 50 MW Solar PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 35 | 35 | 35
(38) | 100 MW Solar PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 70
(39) | 50 MW Solar PV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35
(40) | Data Center 1 Solar PV - 20 MW | 0 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8
(41) | Data Center 1 Solar PV - 40 MW | 0 | 0 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4
(42) | Data Center 1 Solar PV - 30 MW | 0 | 0 | 0 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8
(45) | Data Center 1 Solar PV - 30 MW | 0 | 0 | 0 | 0 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8 | 22.8
(46) | Data Center 1 Solar PV - 40 MW | 0 | 0 | 0 | 0 | 0 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4 | 30.4
(47) | Data Center 1 Solar PV - 30 MW | 0 | 0 | 0 | 0 | 0 | 0 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2
(48) | Data Center 1 Wind - 30 MW | 0 | 0 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
(49) | Data Center 1 Wind - 50 MW | 0 | 0 | 0 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
(50) | Data Center 1 Wind - 50 MW | 0 | 0 | 0 | 0 | 2 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
(51) | Data Center 1 Wind - 50 MW | 0 | 0 | 0 | 0 | 0 | 1 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
(52) | 50 MW Solar PV for 2020 RPS | 0 | 0 | 0 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35
(53) | 50 MW Wind for 2020 RPS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
(54) | Total Renewable Resources (MW) | 86.9311 | 109.2333 | 144.0356 | 204.0356 | 228.3378 | 259.9378 | 275.14 | 274.6422 | 274.3422 | 273.8444 | 273.6444 | 273.1467 | 269.9467 | 269.4489 | 269.0511 | 268.6511 | 324.5533 | 319.7533 | 389.2556 | 418.8556
(55) | Total System Resources (MW) | 2363.9311 | 2235.7333 | 2272.0356 | 2333.4356 | 2359.3378 | 2392.4378 | 2492.14 | 2483.1422 | 2484.3422 | 2485.3444 | 2486.6444 | 2523.1467 | 2529.9467 | 2560.4489 | 2601.0511 | 2640.6511 | 2696.5533 | 2731.7533 | 2801.2556 | 2830.8556
(56) | Reserve Margin (MW) | 493.3311 | 335.8333 | 346.0356 | 372.1356 | 359.9378 | 351.4378 | 427.74 | 400.7422 | 379.6422 | 359.8444 | 337.0444 | 343.5467 | 325.4467 | 324.0489 | 324.8511 | 325.3511 | 342.1533 | 339.6533 | 366.2556 | 350.7556
(57) | Reserve Margin (%) | 26.37% | 17.68% | 17.97% | 18.97% | 18% | 17.22% | 20.72% | 19.24% | 18.04% | 16.93% | 15.68% | 15.76% | 14.76% | 14.49% | 14.27% | 14.05% | 14.53% | 14.2% | 15.04% | 14.14%
Notes:
1. PNM assumes a capacity credit for renewable resources based on type of technology and contribution at the peak hour.
2. Demand response resources grossed up for transmission losses.
3. PNM assumes a 100% capacity credit for Prosperity Battery Demo
4. Capacity credit for geothermal resource is based upon developer estimates.